## Column Schedule
FUSION DEVELOPERS - FUSION LOCKEED PEB
COLUMN SCHEDULE (S-105)
MARK | SECTION | HEIGHT | BASE PLATE | J-BOLTS | LOCATION | QTY
C1 | ISMB 450 (BUILT-UP) | 18'-0" | 25mm 600x400 | 4 No. 25mm DIA | SHED 1 - GRID A (X=0) | 5
C2 | ISMB 450 (BUILT-UP) | 18'-0" | 25mm 600x400 | 4 No. 25mm DIA | SHED 1 - SPINE SIDE | 5
C3 | ISMB 500 (BUILT-UP) | 18'-0" | 25mm 650x450 | 4 No. 25mm DIA | SHED 2 - SPINE SIDE | 5
C4 | ISMB 500 (BUILT-UP) | 18'-0" | 25mm 650x450 | 4 No. 25mm DIA | SHED 2 - GRID D (X=130) | 5
[5 empty] | TOTAL STEEL COLUMNS | 20

## Portal Frame Schedule
FUSION DEVELOPERS - FUSION LOCKEED PEB
PORTAL FRAME / RAFTER SCHEDULE (S-105)
TYPE | SHED | SPAN | SLOPE | RAFTER SECT. | SPLICE/GUSSET | NOS.
PF-1 | SHED 1 | 54'-0" | 8:27 (16.4 deg) | TAPERED 400-700 DEEP | 16mm PLATE, M24 HSFG | 5
PF-2 | SHED 2 | 76'-0" | 8:38 (11.9 deg) | TAPERED 450-800 DEEP | 16mm PLATE, M24 HSFG | 5
[5 empty] | TOTAL PORTAL FRAMES | 10

## Footing Schedule
FUSION DEVELOPERS - FUSION LOCKEED PEB
FOOTING SCHEDULE (S-105)
MARK | TYPE | SIZE | DEPTH / THK | REINFORCEMENT | QTY
F1 | ISOLATED PAD | 6'-0" x 6'-0" | 2'-0" THK @ -4'-0" | #5 @ 6" C/C B.W. Gr60 | 20
SF1 | STRIP (BRICK WALL) | 3'-0" WIDE | 1'-6" THK @ -3'-6" | #4 @ 8" C/C + 4-#5 LONG. | 104'-0" RUN
PCC 3000 psi BLINDING 3"; RCC 4000 psi

## Geometry Basis
FUSION DEVELOPERS - FUSION LOCKEED PEB
LOCKED GEOMETRY CONTROL BASIS
ITEM | SHED 1 | SHED 2
Width (frontage) | 54'-0" | 74'-0"
Length | 104'-0" | 104'-0"
Eave height | 18'-0" | 18'-0"
Ridge height | 26'-0" | 26'-0"
Roof rise | 8'-0" | 8'-0"
Ridge offset from spine wall | 27'-0" | 37'-0"
Slope | 8:27 (16.4 deg) | 8:37 (12.3 deg)
Bays | 4 @ 26'-0" | 4 @ 26'-0"
Portal frames | 5 | 5
Steel columns | 10 | 10
Common spine wall | 10'-0" BRICK | 10'-0" BRICK
Combined footprint | 130'-0" x 104'-0"